

**QUICK START UP FOR YOUR SCALE**

1. **Plug in your scale to an outlet.**
2. **Press the On/Off button.**
3. **The scale will go thru a start-up procedure.**
4. **The display will read (approximately) 60lbs. 6oz.**
5. **Press the Print/Hold button**
6. **Press the Zero/Tare button without putting downward pressure.**
7. **The scale will now be ready to use.**
8. **Place a test weight on the pad.**
9. **Once the weight is stabilized it will automatically hold the reading.**

**\*Remove the object and the reading will still be displayed.**

**\*To reset to Zero, press the Print/Hold button then press the Zero/Tare button.**